Structural Calculations

Project: Click or tap here to enter text.

Location: Click or tap here to enter text.

Client: Click or tap here to enter text.

Date: Click or tap here to enter text.7/22/25	Job No: Click or tap here to enter text.	 By: Click or tap here to enter text.

Code ---------------------------------------	2006 IBC

Structural Steel ----------------------	ASTM A572, A36, A307

Reinforcing Steel -------------------	ASTM A615, Gr. 40, Gr. 60

Masonry ---------------------------------	f’m = 1500 psi

Wood --------------------------------------	D.F. #2 / 24F-V4 GLB

Concrete ---------------------------------	f’c = 2500 psi

Soil Bearing ----------------------------	1500 psf

Project Description:  These calculations cover the structural design for the existing 4x4 cantilevered post, the new 6” diameter fire sprinkler line supports and their connection to the existing 4x4 cantilevered post for Mesquite Cooling Tower, Tonopah, Arizona.  The existing 4x4 cantilevered post is constructed of DF-L #1.  The new sprinkler line supports are constructed of A36 steel angles and are connected to the existing 4x4 cantilevered post with A307 bolts.  The scope of work is located outside.  The components were designed to meet the 2006 IBC requirements.

Project Scope:  The following structural calculations pertain only to the existing 4x4 cantilevered post, the new 6” diameter fire sprinkler line supports and their connection to the existing 4x4 cantilevered post.  It is assumed that the supporting structure is adequate to safely support forces imposed by the existing 4x4 cantilevered post.  Starling Madison Lofquist, Inc. assumes no liability beyond what is specifically shown in these calculations.